Perfecta3D®三维细胞培养悬滴板，PERFECTA3D® HANGING DROP PLATES

美 国3D Biomatrix公司生产的Perfecta3D®悬滴板是一个新的三维细胞培养平台，能够在多孔板模式中形成大小均匀的球状体悬滴；这种悬滴是细胞自组装形成的球状细胞簇，是三维（3D）细胞培养和筛选中研究的最有利的模型之一。同其他类型的3D支架和水凝胶等方法相比，这种球状体具有简单性，可重复性以及生理组织的相似性，能模拟组织肿瘤固有的代谢（氧气，二氧化碳，养分，废物）和增殖梯度变化。作为优良的生理肿瘤模型可以提供比2D细胞培养更可靠 的结果。

3D Biomatrix提供96孔和384孔的细胞培养板和3D细胞基质（细胞支架）。我们的3D细胞培养能提供与体内相似的结果，极大促进生命科学研究和药物的研发及应用。其产品特点：

1、标准的培养板模式

2、能形成大小均一的球体

3、与高通量筛选仪器兼容

4、易于从培养板的顶端进行维护

5、适合长期培养

6、减少培养基试剂的消耗

7、易于将培养的细胞所分泌出的细胞因子和生长因子分离。

3D Biotek的三维细胞培养支架不会吸收细胞因子和生长因子。因此，培养的细胞所分泌的细胞因子和生长因子很容易地从培养基质中很容易的分离出来。

https://3dbiomatrix.com/store/perfecta3d-hanging-drop-plates/hdp1384/

96-WELL HANGING DROP PLATES – CASE OF 8 PLATES   $206.00

384-WELL HANGING DROP PLATES – CASE OF 8 PLATES

$206.00

sigmaaldrich上的价格

http://www.sigmaaldrich.com/catalog/search?term=Perfecta3D&interface=All_ZH&N=0&mode=match%20partialmax&lang=zh&region=CN&focus=product

| HDP1096-2EA（96孔，2块） |  |  | 1022.58人民币 |  |  |
| --- | --- | --- | --- | --- | --- |
| HDP1096-8EA（96孔，8块） |  |  | 3029.13人民币 |  |  |
| HDP1385-2EA（384孔，2块） |  |  | 1022.58人民币 |  |
| HDP1385-8EA（384孔，8块） |  |  | 3029.13人民币 |

Perfecta3D® spheroid transfer tool

Z741096-1EA        4279.86人民币

£225.00/€315.00

Manufacturer: 3D Biomatrix
Shipping: Standard

Perfecta3DÂ® Spheroid Transfer Tool: Each (STT-1) Individually Packaged. Reusable. Untreated. Nonsterile. The Perfecta3D Spheroid Transfer Tool is recommended for spheroid harvesting from the bottom of the 384-well Perfecta3D Hanging Drop Plate when every well is used. The tool can be cleaned, sterilized and reused. For best results, reduce the volume of the hanging drops to 15 Î¼L before transfer. To use, first place the spheroid transfer tool so that the funnels are seated snugly on top of the receiving standard 384-well plate. Remove the bottom tray from the Hanging Drop Plate (HDP) assembly and hold the HDP above the STT-1, lining up the hanging drops with the corresponding top channel ring of the STT-1, and carefully set the HDP on top with a single smooth motion. Centrifuge the plate stack at 50 to 300 xg for 30 to 60 seconds. We recommend that you optimize this procedure to maximize transfer without damaging spheroids.

| Product |  |  | Catalogue # | Price |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Perfecta 3D 384 Well Hanging Drop Plates (2 Plates Pack) | View Details | HDP1384-S2 | £35.00 €49.00 |  |  |
|  | Perfecta 3D 384 Well Hanging Drop Plates (8 Plates Pack) | View Details | HDP1384-8 | £165.00 €231.00 |  |  |
|  | Perfecta 3D 96 Well Hanging Drop Plate (2 Plates Pack) | View Details | HDP1096-S2 | £35.00 €49.00 |  |  |
|  | Perfecta 3D 96 Well Hanging Drop Plate (8 Plates Pack) | View Details | HDP1096-8 | £165.00 €231.00 |  |  |
|  | SPHEROID TRANSFER TOOL (Each) | View Details | STT-1 | £225.00 €315.00 |  |  |